Chapter 8
Securing IoT

---
What we shall look at
- History of OT Security
- Common Challenges In OT Security
- How IT and OT Security Practices and Systems Vary
- Formal Risk Analysis Structures:
  - OCTAVE and FAIR
- The Phased Application of Security in an Operational Environment

---
A Brief History of OT Security

---
Common Challenges in OT Security
The security challenges faced in IoT are by no means new and are not limited to specific industrial environments. The following sections discuss some of the common challenges faced in IoT.
  - Erosion of Network Architecture
  - Pervasive Legacy Systems
  - Insecure Operational Protocols
    - Modbus
    - DNP3
    - ICCP
    - OPC
    - IEC
  - Device Insecurity
  - Dependence on External Vendors
  - Security Knowledge

---
  Erosion of Network Architecture
- The challenge, and the biggest threat to network security, is standards and best practices either being misunderstood or the network being poorly maintained.
- With time what seemed to be a solid design is eroded through ad hoc updates and individual changes to the hardware and machinery without consideration
- These uncontrolled or poorly controlled OT network evolutions have, in many cases, over time led to weak or inadequate network and systems security.

---
Pervasive Legacy Systems